## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority:The Commissioner, Coimbatore City Municipal Corporation
Name of Work : Annual house keeping in corporation officers quatres and Ponnurangam road,Venkatasamy road in ward no.71,west zone. Roc. No. 2912/2022/MD2
Contract No: Item No. 13 of (e) 31 / 2022 Estimate Amount : Rs.38,00,000/- Tender Date : 02.08.2022
Bidder Name :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Supply of Security as per direction of departmental officers., |  | 2920 | day | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2 | Supply of Electriction II Class as per direction of departmental officers., |  | 250 | day | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3 | Supply of Plumber II Class as per direction of departmental officers., |  | 100 | day | 2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4 | Supply of Gardener as per direction of departmental officers., |  | 760 | day | 3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5 | Supply of Carpenter II Class as per direction of departmental officers., |  | 50 | day | 4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6 | Supply of Mason II class as per direction of departmental officers., |  | 30 | day | 5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7 | Supply of Painter II class as per direction of departmental officers., |  | 30 | day | 6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8 | Supply of MazdoorII as per direction of departmental officers., |  | 104 | day | 7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9 | Plain Cement concrete 1:4:8 (one cement, four sand and eight aggregate) using 40mm hard blue granite metal by volume for levelling course in foundation trenches manholes inspection chambers etc., including charges for scaffolding , shoring , strutting, bailing out water if necessary ramming , consolidating cuing etc., cost and conveyance of all materials complete in all respects complying with relevant standard specifications at all leads &lifts inside the building |  | 5 | m3 | 8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
10 | BRICK WORK in cement mortar 1:5 (one cement and five sand) using best quality of second class (Table molded chamber burnt ) bricks of size 9"x4 ½"x3" for the following including curing etc., complete complying with standard specifications. (Masonry projections wherever necessary for obtaining the required elevation shall be done without extra cost. |  | 2 | m3 | 9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
11 | Plastering in cement mortor 1:5 mix (one cement,three sand) 12mm thick including cost and conveyance of all materials and labour charges for mixing the martor, and the surface rubbed for smooth and curing to required period, etc complete as per std Specification. |  | 20 | m2 | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
12 | Painting with Emulsion Paint Two Coats Over Base Coat with Prime coat of approved colour & Brand (ISI standard ) paint as per the standard specification(The paint to be used should be got approved by the Executive engineer before use on work). |  | 20 | m2 | 11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13 | Painting with Emulsion Paint Two Coats of approved colour & Brand (ISI standard ) paint as per the standard specification(The paint to be used should be got approved by the Executive engineer before use on work). |  | 100 | m2 | 12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
14 | PAINTING OLD IRON WORKS for doors, windows and Ventilators, Iron bars Weld mesh, wire mesh, screen, steel bars, flats and other similar works etc., with TWO COATS of approved first quality of synthetic enamel paint over a base coat of red oxide primer in all floors. The rate is inclusive of cost of all materials and labour, brushes and scaffolding charges etc., complete complying with standard specification. The paint to be used should be got approved by the Executive engineer before use on work. |  | 50 | m2 | 13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
15 | Painting with enamel paint two coats over old wood work etc., completed |  | 50 | m2 | 14 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
16 | Paving the floor with Vitrified Floor Tiles of size 60 X 60cm of approved brand and colour Marbonite tiles in all floors base layer of cement mortar 1:3 (one cement and three sand) 20mm thick using first quality Marbonite tiles of size 60 X 60cm and point with colour cement neatly and fixed in position so as to make perfectly smooth and to alignment etc., complete complying with standard specification |  | 50 | m2 | 15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
17 | Daddoing the walls with first quality approved colour glazed tiles with printed design of 150x150x6mm laid in cement mortar 1:2 mix to 10mm thick and painting with white cement using 0.40kg/1m2 including finishing the jointing and painting flush with tiles surface etc., complete |  | 25 | m2 | 16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
18 | Flooring finishing with first quality design ceramic glazed tiles of all colours of size 305cm X 305cm X 6mm laid in cement mortar 1:3 mix to 20mm thick and painting with white cement using 0.30 kg/1m2 including finishing the jointing and painting flush with tiles surface etc., complete |  | 10 | m2 | 17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
19 | Paving the floor with Eurocan tiles (at required colour) of size 305 x 305 x 6mm (colour and shade as directed) in all floors over a base layer of cement mortar 1:3 (one cement and three sand ) 20mm thick laid in-situ and pointed with white cement mixed with coloured pigment. |  | 50 | m2 | 18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
20 | European Water Closet (Colour) with 'P' or 'S' Trap withDouble Flapped seat and seat cover with Brass Highes and 10litre capacity PVC low level flusing tank with all internal fittings |  | 4 | Nos | 19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
21 | Supplying and fixing in position of Indian make colour water closet of size in 580mm * 440mm weight glassed earthan ware of approved with P Trap (or) S Trap and foot rest and filling all round the closet using 20mm broken brick jally in 10cm thick and plaster in c.m. 1:3 12 mm thick including fixing in position levelling complete with necesary connection as per standard specification |  | 2 | Nos | 20 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
22 | Providing and laying Red gravel including cost and conveyance of all materials from approved quarries as noted in lead chart to the road side including loading, unloading and stacking the red gravel at road side to departmental gauge for pre-measurement |  | 25 | Nos | 21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
23 | Supplying and fixing of PVC Panel door using solid PVC DOOR shutters using 19 gauge 19mm tubes for styles and outer frames 15 sq.tube for top, lock and bottom rails. The shutter using 5mm thick soild PVC Sheets for panelling in solid panel PVC Door with frame etc. complete. |  | 6 | nos | 22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
24 | Supplying and fixing in position of indian make White glazed earth ware wash basin 550mmx400mm with all accessories such as C.I Brackets 15mm CP pilar tap brass,tail pieces,32 mm dia 'B' class G.I waste pipe,15mm dia nylon connections 15mm G.M.wheel valve,15mm brass nipple and giving necessary connections including cost of white lead,teak wood plug,clamps,screws,rubber,washers painting two coats of paint over lead pipe etc., complete. |  | 4 | Nos | 23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
25 | Wiring with 2x1.5 sq.mm (22/0.3) PVC insulated SC.unsheathed Cu.Conductor of 1100 V grade in suitable PVC rigid pipe on wall and celling with PVC accessories and with TW switch box and 5A F.T. switch with painting of suitable Colour for open PVC light point /fan point (For electronic regulator) (5 points per coil) (SD:18) |  | 20 | Nos | 24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
26 | Wiring with 2x1.5 sq.mm (22/0.3) PVC insulated SC.unsheathed Cu.Conductor of 1100 V grade in suitable PVC rigid pipe on wall and celling with PVC accessories with 150mm x 100mm x 113mm TW switch box in flush with wall with 3mm thick Hylem sheet cover for 5A 3 pin non inter locking wall socket with 5A Flush type switch with painting of suitable colour with continuous earth wire connection 14 SWG TC wire for open PVC plug point (SD:37) |  | 20 | Nos | 25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
27 | Wiring with 2x4 sqmm (56/0.3) PVC insulated SC.unsheathed Cu.Conductor cable of 1100 V grade in suitable pipe on wall and celling with PVC accessories with 150mm x 100mm x 63mm TW switch box for 15A 3 pin non inter locking wall socket with 15A Flush type switch with painting of suitable colour with continuous earth wire connection 14 SWG TC wire for open PVC plug point (SD:39) |  | 4 | Nos | 26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
28 | Supply and run of 2 of 1.5 sqmm (22/0.3) PVC insulated SC unsheathes Cu.conductor of 1100 V Grade in rigid pipe concealed in wall and ceilling with continuous earth wire connection of 14 SWG TC wire and making good of the concealed portion with suitable colour (SD:42) |  | 20 | rmtr | 27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
29 | Supply and run of 2 of 4 sqmm (56/0.3) PVC insulated SC unsheathes Cu.conductor of 1100 V Grade in Suitable PVC rigid pipe on wall and ceilling with continuous earth wire connection of 14 SWG TC wire with painting of suitable colour (SD:56) |  | 20 | rmtr | 28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
30 | Supply and run of 2 of 6sqmm (84/0.3) PVC insulated SC unsheathes Cu.conductor of 1100 V Grade in suitable PVC rigid pipe on wall and ceilling with continuous earth wire connection of 14 SWG TC wire with painting of suitable colour (SD:58) |  | 10 | Nos | 29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
31 | Supply and run of 4 of 6sqmm (84/0.3) PVC insulated SC unsheathed Cu conductor of 1100 V grade in Suitable PVC rigid pipe on wall and ceilling with continuous of 14 SWG TC wire with painting of suitable colour (SD:62) |  | 10 | rmtr | 30 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
32 | Supply and Laying of 4x6 sq.mm PVC armound LTUG cable in a trunch to be excavated at a depth of 0.75 metre putting 0.15 metre layer of sand and covering the cable completely with brick & Sand and refiling the earth to make good (SD:219) |  | 25 | rmtr | 31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
33 | Supply and fixing of single box type 4'40 W flu fitting complete with copper choke and condenser, with conduit pipe suspension from the celling with PVC unsheathed copper leads from terminals to the fitting with tube. (SD:89) |  | 10 | Nos | 32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
34 | Supply and fixing of twin box type 4'40 W flu fitting complete with copper choke and condenser, with TW round block on wall or ceiling with tubes and PVC unsheathed Copper leads from terminal to the fitting (SD:90) |  | 10 | Nos | 33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
35 | Supply and fixing of 300 mm (12'') sweep (light duty) AC exhaust fan complete with necessary wall opening and making good of the wall (SD:114) |  | 2 | Nos | 34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
36 | Supply and fixing of 1200mm (48'') AC ceilling fane complete with stepped electronic 300W regulator with 1 meter down rod on existing clamp. (SD:107) |  | 4 | Nos | 35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
37 | Supply of Electrical Materials with ISI (Make) as per the direction of the departmental Officers.
37.1 | 4'x40 W LED Tube Light |  | 10 | Nos | 37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
37.2 | Wall mounting Fan 300 mm sweep |  | 2 | Nos | 38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
37.3 | LED bulb 15 W |  | 5 | Nos | 39 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
37.4 | Electronic Regulator |  | 2 | Nos | 40 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
38 | Supply and fixing of AC/DC 76mm Buzzer/Call bell suitable for 230 Volts 50c/s single phase AC supply on suitable TW Board with push switch.(SD-105) |  | 4 | Nos | 41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
39 | Supply of Water supply Materials with ISI (Make) as per the direction of the departmental Officers.
40 | GI pipes
40.1 | 50 mm dia GI pipe'B' Class |  | 25 | rmtr | 44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
41 | PVC pipes
41.1 | 63 mm PVC pipe 6kg/cm2 |  | 10 | Nos | 46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
42 | UPVC pipes
42.1 | 65 mm UPVC pipe |  | 25 | Nos | 48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
43 | GI Union
43.1 | 50 mm dia Union |  | 2 | Nos | 50 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
44 | GI Elbow
44.1 | 50 mm dia Elbow |  | 2 | Nos | 52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
45 | Tee
45.1 | 50 mm GI Tee |  | 2 | Nos | 54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
46 | Coupling
46.1 | 50 mm GI coupling |  | 2 | Nos | 56 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
47 | GM Gate Valve
47.1 | 50 mm GM Gate Valve |  | 2 | Nos | 58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
48 | UPVC Gate valve
48.1 | 63 mm UPVC Ball valve |  | 2 | Nos | 60 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
49 | Tap
49.1 | Brass chromium plated screws tap 15/12 mm dia (Heavy type) |  | 5 | Nos | 62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
49.2 | PVC 20 mm dia screw Tap |  | 10 | Nos | 63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
50 | Supply and delivery and fixing of HDPE tank as per IS 12701 / 1996 including loading, unloading, transportation and labour charges for fixing of the GI pipes and specials for pipe connection works including cutting, threading and fixing charges etc.,., complete |  | 2000 | Nos | 64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
51 | Preventive Annual Maintanance charge of Split Air Conditioner of 1 Ton and 2.0 Ton inclusive of washing, oiling, cleaning, greasing,servicing and repair of compressor and motor (with out gas filling) etc complete as per standard specifications |  | 4 | Nos | 65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
52 | Supply and Fixing of 2 Tonne Air Conditioner of approved brand including cost of material with installation charge etc |  | 1 | Nos | 66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
53 | Supply and Fixing of Stabilizer for 2 Tonne Air Conditioner of approved brand including cost of material with installation charge etc |  | 1 | Nos | 67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
54 | Supply and Fixing Chimney of approved brand including cost of material with installation charge etc |  | 1 | Nos | 68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
55 | Supply and Fixing of Electrical Water Heater with Copper Container ,with Glass wool/puf insulation with ms powder coated shell suitable for 25 liters capacity 230v/1000w venus /Racold or approved brand including cost of material with completed |  | 1 | Nos | 69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
56 | Supply and fixing of 1 HP Motor including labour etc.completed |  | 2 | Nos | 70 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
57 | Formation of garden using Korean carpet grass including forming of ground for planting with filling of red gravel with sand mixture upto 150 mm thick including application of fertilizer and maintenance for 6 months etc., complete. |  | 100 | Nos | 71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
58 | Supplying and Planting of asserted colour plants flowering, non flowering, Ixorai or aralia or may flower edge type plants including application of fertilizer as per direction of departmental officers. |  | 50 | Nos | 72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
59 | Supply & Fixing of Rectangle pipe with kondies in suitable Bolt nut etc., complete |  | 50 | Nos | 73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
60 | Roofing with colour coated Galvolume sheet profile .47mm thick including necessary bolt, nuts and bitumen washed etc.,completed - 10 m2 |  | 50 | Nos | 74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
61 | Providing Name Board with Wooden ASP sheet with light |  | 2 | Nos | 75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
62 | Supply and fixing of 48W Street Light fitting with bulb etc., complete |  | 2 | Nos | 76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
63 | Add :- GST @ 12%
Total in Figures | [11 empty] | #VALUE! | [39 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information